## IncidentType
Id | Type | Description
1 | SP | Single Premise Incident
2 | LV | Low Voltage Incident
3 | HV_N | High Voltage Network Incident
4 | HV_S | High Voltage Incident
5 | CG | Call Group Incident

## IncidentStatus
Id | Status | Description
0 | Awaiting | Awaiting
1 | InProgress | In Progress
2 | Emergency | Emergency
3 | Delog | Delog
4 | ReportsOs | Reports OS
5 | Complete | Complete
6 | PreArranged | Pre-Arranged
7 | Merged | Merged
8 | Cancelled | Cancelled
9 | PendingMerge | Pending Merge
10 | PendingCancel | Pending Cancel

## IncidentCategory
Id | Category Code | Description | Comments
1 | S11O | 11kV O/H Fault | NULL
2 | DIG32SF | 132Kv Switchgear Fault | NULL
3 | HVPM | HV PM Transformer Fault | NULL
4 | DIG32TF | 132Kv Transformer Fault | NULL
5 | EHVT | EHV Transformer Fault | NULL
6 | LPF | LV Plant Fault | NULL
7 | NLOW | HV Low Voltage | NULL
8 | SLSW | 11Kv Local SG (Replace not RMU) | NULL
9 | LVOD | LV Overhead Network Damage | NULL
10 | OHDN | Overhead Conductors Down | NULL
11 | LOHF | LV OH Network Fault | NULL
12 | SOHF | OH Fault | NULL
13 | ENS4 | Overhead Service Fault | NULL
14 | S11D | 11kv Overhead Damage | NULL
15 | OHND | Overhead Network Damage | NULL
16 | STR5 | High Priority Streetlight Fault | NULL
17 | STR4 | Multiple Street Light Fault | NULL
18 | STR3 | Single Street Light Fault | NULL
19 | STR1 | Emergency Streetlight Fault | NULL
20 | STR6 | High Priority Traffic Light | NULL
21 | A040 | CAT-A04-Physical Damage | NULL
22 | LVS2 | LV Network Sweep | NULL
23 | EDIS | Emergency Disconnection | NULL
24 | EMIS | Emergency Isolation | NULL
25 | LVRT | Isolation For Dead Service | NULL
26 | NEME | Emergency Isolation | NULL
27 | SEME | Emergency Isolation | NULL
28 | HSPR | Pre-Arranged | Planned Incidents
29 | NPRE | Pre-Arranged | Planned Incidents
30 | GENH | General Enq | NULL
31 | SPRE | Pre-Arranged(SP) | Planned Incidents
32 | GENL | General Enq | NULL
33 | LPRE | Pre-Arranged | NULL
34 | LVCS | LV Cable Damage (CONSAC) | NULL
35 | NDAM | Service Cable Damage | NULL
36 | PC1 | Polarity Check | NULL
37 | FIR2 | Customer Safety Check | NULL
38 | A140 | CAT-A14-Crossed Polarity | NULL
39 | SNIF | Go Snniff | NULL
40 | ENS5 | EGS1 Main Fuse Fail | NULL
41 | EHUP | 132Kv Cable Fault Pressurised | NULL
42 | DIG33OH | 33kv OH Fault | NULL
43 | NDOF | 11Kv OH SG (Not CB) Fault | NULL
44 | EHUG | 132kv Cable Fault Non Press | NULL
45 | EHFP | EHV U/G Fault Pressurised | NULL
46 | OHSG | 11Kv O/H SG (CB) Fault | NULL
47 | LUGF | LV UG Network Fault | NULL
48 | LSAC | LV UG Cable Fault (CONSAC) | NULL
49 | EHVF | EHV U/G Fault Non Pressurised | NULL
50 | S11U | 11kV U/G Fault | NULL
51 | ENS3 | Underground Service Fault | NULL
52 | SUGF | 11Kv UG Fault | NULL
53 | NLSF | 11Kv Local SG (Replace not RMU) | NULL
54 | HVGM | HV GM Transformer Fault | NULL
55 | ESF1 | Flickering Supply | NULL
56 | SSF1 | HVS Flickering Supply | NULL
57 | LF1 | LV Flickering Supply | NULL
58 | NSF1 | Flickering Supply | NULL
59 | SLOW | Low Volts | NULL
60 | SPLV | Low/High Volts | NULL
61 | NUGF | 11kv UG Fault | NULL
62 | A130 | CAT-A13-Airbourne Asbestos | NULL
63 | A120 | CAT-A12-Exposed Asbestos | NULL
64 | SESP | Metal Theft | NULL
65 | SEHV | Metal Theft | NULL
66 | SEHS | Metal Theft | NULL
67 | SELV | Metal Theft | NULL
68 | LFL2 | Flooding Burst Water Main | NULL
69 | SFL2 | Flooding Burst Water Main | NULL
70 | NFL2 | Flooding Burst Water Main | NULL
71 | A080 | CAT-A08-Broken Fuse Carrier | NULL
72 | A070 | CAT-A07-Exposed Conductors | NULL
73 | A020 | CAT-A02-Cable Hot | NULL
74 | A150 | CAT-A15-Service Position Risk | NULL
75 | A170 | CAT-A17-Electric Shock Risk | NULL
76 | GSP1 | Gas In Pit | NULL
77 | A090 | CAT-A09-Exposed Conductors TPD | NULL
78 | SPIL | Pilot Cable Fault | NULL
79 | EHVS | EHV Switchgear Fault | NULL
80 | SP11 | HV Ring Main Unit Fault | NULL
81 | SMF1 | Stolen Main Fuse | NULL
82 | ZMBC | ZMB Meter Change | NULL
83 | INTF | Internal Fault | NULL
84 | COUG | Faulty Underground Cutout | NULL
85 | A030 | CAT-A03-Defect Fuse Contact | NULL
86 | A050 | CAT-A05-Smell Of Burning | NULL
87 | ESF3 | High Earth Loop Impedance | NULL
88 | HVCT | HV Metering CT | NULL
89 | NPIL | Pilot Cable Fault | NULL
90 | UGOC | XXX | NULL
91 | PILO | Pilot Fault | NULL
92 | RR02 | XX | NULL
93 | LVCO | Isolation for Cut Out | NULL
94 | A060 | CAT-A06-Arcing | NULL
95 | MID1 | Metering Fault | NULL
96 | CAD1 | Faulty Cutout | NULL
97 | ABOR | Abortive Call | NULL
98 | A180 | CAT-A18-Fire Risk | NULL
99 | NNOS | Unknown | NULL
100 | A010 | CAT-A01 Signs Of Overheating | NULL
101 | LBLD | Link Box Lid Damaged | NULL
102 | LVCT | LV Metering CT | NULL
103 | EOTH | Miscellaneous | NULL
104 | UNKN | Unknown | NULL
105 | GENQ | General Enq | NULL
106 | NACL | No Access Card Left | NULL
107 | COOH | Faulty Overhead Cutout | NULL
108 | LBFF | Link Box Fault | NULL
109 | LB81 | Link Box Defects | NULL
110 | LBFS | Link Box Fault | NULL
111 | COFN | CAT-C08-Cutout Fused Neutral | NULL
112 | A160 | CAT-A16-Exposed to Elements | NULL
113 | A100 | CAT-A10-Earthing Risks | NULL
114 | A110 | CAT-A11-Earth Term Issue | NULL
115 | FIR1 | Fire Call | NULL
116 | EHSO | EHV Fault Rest Switching Only | NULL
117 | HSSO | HV Fault Rest by Switching Only | NULL
118 | HVSO | HV Fault Rest by Switching Only | NULL
119 | DIG132S | 132Kv Fault Rest Switching Only | NULL
120 | ESF4 | Flooding | NULL
121 | SSDO | Substation Safety Check | NULL
122 | ROTC | Removal Of Temp Connection | NULL
123 | ECON | Control Engineer Incident | NULL
124 | LFUS | LV Fuse Replacement/Linking | NULL
125 | RF01 | Repeat Fuse Op 2nd | NULL
126 | HVGS | HV GM Transformer Fault | NULL
127 | RF03 | Repeat Fuse Op 4th + | NULL
128 | RF02 | Repeat Fuse Op 3rd | NULL
129 | LDAM | LV Cable Damage | NULL
130 | EHVD | 132kv Cable Damaged Pressurised | NULL
131 | DIG33CP | EHV Cable Damaged Pressurised | NULL
132 | DIG11CD | 11kv Cable Damaged | NULL
133 | SEHD | 132kv Cable Damage Non Press | NULL
134 | DIG33CD | EHV Cable Damage Non Press | NULL
135 | S132 | 132kV Fault | NULL
136 | OH33 | 33Kv O/H Damage | NULL
137 | S33O | 33kV O/H Fault | NULL
138 | SDOF | 11Kv OH SG (Not CB) Fault | NULL
139 | EHOH | 132kv OH Fault | NULL
140 | NOHF | 11kv OH Fault | NULL
141 | BID1 | Install Bidoyng | NULL
142 | BID2 | Remove Bidoyng | NULL
143 | HVP1 | HV PM Transformer Fault | NULL
144 | INTR | RTU Intertrip Fail | NULL
145 | LPRQ | Line Patrol Request | NULL
146 | LVFP | LV Feeder Pillar | NULL
147 | PF3P | Pilot Fault 3rd Party | NULL
148 | PRTU | Primary RTU Fault | NULL
149 | RTUB | RTU Battery Fault | NULL
150 | SCF1 | Satellite Comms Fault | NULL
151 | SRTU | Secondary RTU Fault | NULL
152 | LPAI | Planned Outage Not Carded | NULL
153 | SMF2 | EGS1 Main Fuse Fail (Smart Meter) | NULL
154 | GTC1 | GroupTele Control | NULL

## IncidentLogTypes
Id | Name | Description
1 | Incident | Incident
2 | Resource | Resource
3 | Switching | Switching
4 | Work | Work
5 | GuaranteeStandard | Guarantee Standard
6 | Audit | Audit
7 | PreWorkRiskAssessment | Pre Work Risk Assessment
8 | SPNLocalAuthoritys | SPN Local Authoritys
9 | StreetLightingMessages | Street Lighting Messages
10 | WorkCapitalisationOfCosts | Work, Capitalisation of costs
11 | Work, Overtime | Work, Overtime
12 | GS1 | GS 1
13 | GS2 | GS 2
14 | Olympics2012 | 2012 Olympics
15 | CatADefectMessage | Cat A Defect Message
16 | ScoutingInformation | Scouting Information
18 | GeneratorHire | Generator Hire
20 | PAICustomerLetterReason | PAI Customer Letter Reason
21 | OverheadDamageManagement | Overhead Damage Management
25 | Streetworks | Streetworks
30 | LinePatrol | Line Patrol
50 | AddTask | Add Task
55 | Contractor | Contractor
65 | MAAVMessage | MAAV Message

## IncidentLogCategory
Id | LogTypeId | LogCategoryId | Category | Description
1 | 1 | -42 | NULL | Alarm
2 | 1 | -34 | NULL | Early Disconnection
3 | 1 | -33 | NULL | Guarantee Standard 2\nConfirmed
4 | 1 | -32 | NULL | IVR Assigned
5 | 1 | -31 | NULL | IVR Freed
6 | 1 | -29 | NULL | Delivery
7 | 1 | -28 | NULL | Call Cancelled
8 | 1 | -27 | NULL | Nested
9 | 1 | -26 | NULL | Confirm
10 | 1 | -25 | NULL | Guaranteed Standard 5\nBreach
11 | 1 | -24 | NULL | Guaranteed Standard 2\nBreach
12 | 1 | -23 | NULL | Guaranteed Standard 2\nWarning
13 | 1 | -22 | NULL | Company Standard 2\nBreach
14 | 1 | -20 | NULL | Guaranteed Standard 1\nBreach
15 | 1 | -19 | NULL | Guaranteed Standard 1\nWarning
16 | 1 | -16 | NULL | Confirm
17 | 1 | -13 | NULL | Audit
18 | 1 | -12 | NULL | Complete
19 | 1 | -11 | NULL | Delog
20 | 1 | -10 | NULL | ETR Unknown
21 | 1 | -9 | NULL | ETR Calculated
22 | 1 | -8 | NULL | ETR Periodic
23 | 1 | -7 | NULL | Pending Cancel
24 | 1 | -6 | NULL | Pending Merge
25 | 1 | -5 | NULL | In Progress
26 | 1 | -4 | NULL | Awaiting Dispatch
27 | 1 | -3 | NULL | Cancelled
28 | 1 | -2 | NULL | Merged
29 | 1 | -1 | NULL | Raised
30 | 1 | 0 | NULL | ETA (Est Time Arrival)
31 | 1 | 6 | NULL | ETR Manual
32 | 1 | 7 | NULL | Supply Restored
33 | 1 | 9 | NULL | Work Complete
34 | 1 | 10 | NULL | Other
35 | 1 | 19 | NULL | Fuse Replaced
36 | 1 | 20 | NULL | Internal Fault
37 | 1 | 21 | NULL | LV Fault report required
38 | 1 | 22 | NULL | Blown Main Fuse
39 | 1 | 23 | NULL | No Access
40 | 1 | 24 | NULL | Cut-Out Change Urgent
41 | 1 | 25 | NULL | Cut-Out Change Non Urgent
42 | 1 | 26 | NULL | Pass to RPU
43 | 1 | 27 | NULL | Not 24Seven Cable/Conductor
44 | 1 | 28 | NULL | Supply Isolated
45 | 1 | 30 | NULL | Burning Connection\nAt Cut Out
46 | 1 | 31 | NULL | Blown Main fuse
47 | 1 | 32 | NULL | Blown Fuse in S/S
48 | 1 | 33 | NULL | Internal
49 | 1 | 34 | NULL | Cablehead Changed
50 | 1 | 35 | NULL | Pass to RPU\nInterference
51 | 1 | 36 | NULL | Bulked N/T
52 | 1 | 37 | NULL | Changed Faulty PCR/M
53 | 1 | 38 | NULL | Advised To Buy Cards
54 | 1 | 39 | NULL | Supply Steady When We Arrived
55 | 1 | 40 | NULL | Tightened Loose Connection
56 | 1 | 41 | NULL | Voltage Recorder Required
57 | 1 | 42 | NULL | Further Work Reqd\nLine/Jointer
58 | 1 | 43 | NULL | Replaced Faulty Meter
59 | 1 | 44 | NULL | Replaced Faulty Contractor
60 | 1 | 45 | NULL | Replaced Damaged Meter
61 | 1 | 46 | NULL | Replaced Faulty Timeswitch
62 | 1 | 47 | NULL | Replaced Faulty Tele Switch
63 | 1 | 48 | NULL | Pass to App. Repair
64 | 1 | 49 | NULL | Cablehead Change Required
65 | 1 | 50 | NULL | Opening Notice Work Ref No
66 | 1 | 51 | NULL | Excavate As Agreed On Site
67 | 1 | 54 | NULL | Overhead Conductors Down
68 | 1 | 55 | NULL | Overhead Conductors Clashing
69 | 1 | 56 | NULL | Cable Damage
70 | 1 | 57 | NULL | DST Aware
71 | 1 | 58 | NULL | Overhead Service Dead
72 | 1 | 59 | NULL | Underground Service Dead
73 | 1 | 60 | NULL | Put Credit On Meter
74 | 1 | 61 | NULL | Underground Cable Fault
75 | 1 | 62 | NULL | Disconnection Required
76 | 1 | 63 | NULL | Replaced Meter Tail
77 | 1 | 64 | NULL | Reset Meter
78 | 1 | 65 | NULL | FFE Attachment Exists
79 | 1 | 66 | NULL | Appointment Time
80 | 1 | 67 | NULL | ETR Field Confirmed
81 | 1 | 68 | NULL | ETR Manual
82 | 1 | 700 | NULL | Card List Not Received
83 | 1 | 730 | NULL | Staff Responsible
84 | 1 | 1001 | NULL | ETR Field Confirmed
85 | 1 | 1010 | NULL | Category Correct
86 | 1 | 1015 | NULL | Restoration Message
87 | 1 | 1020 | NULL | Category Amended
88 | 1 | 2100 | NULL | Control - Action Taken
89 | 1 | 9000 | NULL | Confirmed Cat A Defect
90 | 2 | -29 | NULL | Delivery
91 | 2 | -16 | NULL | CallUpdate
92 | 2 | -15 | NULL | Delivery
93 | 2 | -14 | NULL | Sent
94 | 2 | -13 | NULL | Accepted
95 | 2 | -11 | NULL | Cancelled
96 | 2 | -10 | NULL | Dispatched
97 | 2 | -9 | NULL | Assigned
98 | 2 | -4 | NULL | Finished On Site
99 | 2 | -3 | NULL | Returned To Site
100 | 2 | -2 | NULL | Temp Left Site
101 | 2 | -1 | NULL | AOS (Arrival On Site)
102 | 2 | 0 | NULL | ETA (Est Time Arrival)
103 | 2 | 1 | NULL | AOS (Arrival On Site)
104 | 2 | 2 | NULL | Temp Left Site
105 | 2 | 3 | NULL | Returned To Site
106 | 2 | 4 | NULL | Finished On Site
107 | 2 | 5 | NULL | Request Repair Team
108 | 2 | 6 | NULL | Request Material
109 | 2 | 7 | NULL | Dispatch FFE Job
110 | 2 | 8 | NULL | ETC (Est Time Complete)
111 | 2 | 10 | NULL | Other
112 | 2 | 66 | NULL | Appointment Time
113 | 2 | 300 | NULL | Street light message
114 | 3 | -33 | NULL | Guarantee Standard 2\nConfirmed
115 | 3 | 0 | NULL | Found Open
116 | 3 | 1 | NULL | HV Network Switching
117 | 3 | 2 | NULL | Cut and Test
118 | 3 | 3 | NULL | Remove Link
119 | 3 | 4 | NULL | Remove Fuse
120 | 3 | 5 | NULL | Temporary Fuse To Feed O/C
121 | 3 | 6 | NULL | Permanent Joint
122 | 3 | 7 | NULL | Link
123 | 3 | 8 | NULL | Fuse Operation
124 | 3 | 9 | NULL | Extension of Outage
125 | 3 | 10 | NULL | Supplies Restored
126 | 3 | 11 | NULL | Other
127 | 3 | 12 | NULL | Restore Negative Customers
128 | 3 | 13 | NULL | Connect Generator
129 | 3 | 14 | NULL | Repeat Fuse Operation
130 | 3 | 15 | NULL | Backfeed S/S
131 | 3 | 16 | NULL | Isolation For Repairs
132 | 3 | 17 | NULL | Extension Of Interruption
133 | 3 | 18 | NULL | Log Update
134 | 3 | 19 | NULL | Fuse Replaced
135 | 3 | 20 | NULL | HV Fault report required
136 | 3 | 21 | NULL | LV Fault report required
137 | 3 | 22 | NULL | SP Fault report required
138 | 3 | 24 | NULL | No fault report required
139 | 3 | 30 | NULL | Ultra-High Speed Fuse Inserted
140 | 3 | 32 | NULL | Ultra-High Speed Fuse Removed
141 | 3 | 34 | NULL | Bidoyng Installed
142 | 3 | 36 | NULL | Bidoyng Pry Fuse Operated
143 | 3 | 38 | NULL | Bidoyng Pry Blown Fuse Replaced
144 | 3 | 39 | NULL | 1st ESC 4Hrs
145 | 3 | 40 | NULL | Bidoyng Sec Fuse Operated
146 | 3 | 42 | NULL | Bidoyng Sec Blown Fuse Replaced
147 | 3 | 44 | NULL | Bidoyng Removed
148 | 3 | 46 | NULL | UHS Fuses- CIs Saved
149 | 3 | 50 | NULL | Primary Battery Fault
150 | 3 | 51 | NULL | LV Fault report required
151 | 3 | 52 | NULL | SP Fault report required
152 | 3 | 53 | NULL | No fault report required
153 | 3 | 58 | NULL | Generator Issues
154 | 3 | 95 | NULL | Generator Ordered
155 | 3 | 630 | NULL | Staff Requested
156 | 3 | 2008 | NULL | PAI Person in Charge
157 | 3 | 2100 | NULL | Control - Action Taken
158 | 4 | -34 | NULL | Early Disconnection
159 | 4 | -16 | NULL | Guarantee Standard 11\nWarning
160 | 4 | -15 | NULL | Delivery
161 | 4 | 0 | NULL | Work Assessment
162 | 4 | 1 | NULL | Holes Dug
163 | 4 | 2 | NULL | Track Dug
164 | 4 | 3 | NULL | Temp Joint Made
165 | 4 | 4 | NULL | Perm Joint Made
166 | 4 | 5 | NULL | Hole b/filled Temp Reinst
167 | 4 | 6 | NULL | Hole b/filled Perm Reinst
168 | 4 | 7 | NULL | Track b/fill Temp Reinst
169 | 4 | 8 | NULL | Track b/fill Perm Reinst
170 | 4 | 9 | NULL | OH Patrol in progress
171 | 4 | 10 | NULL | OH Repair in progress
172 | 4 | 11 | NULL | Emergency Repair
173 | 4 | 12 | NULL | Programmed Repair
174 | 4 | 13 | NULL | Reinstatement
175 | 4 | 14 | NULL | Other
176 | 4 | 15 | NULL | Check Flag
177 | 4 | 16 | NULL | Opening Notice Work Ref No
178 | 4 | 17 | NULL | Cut And Test Cable
179 | 4 | 18 | NULL | Fault Located
180 | 4 | 19 | NULL | Changed Transformer
181 | 4 | 20 | NULL | Changed Switchgear
182 | 4 | 21 | NULL | Changed Pole
183 | 4 | 22 | NULL | Cable Repair in progress
184 | 4 | 23 | NULL | Cable Damage Repairs Complete
185 | 4 | 24 | NULL | Fault Cut Out Temp Pot Ends
186 | 4 | 25 | NULL | Link Box Cut Out
187 | 4 | 26 | NULL | Dead Core Swapped To Live
188 | 4 | 27 | NULL | Cutout Changed
189 | 4 | 28 | NULL | Generator Connected
190 | 4 | 29 | NULL | Loop Installed
191 | 4 | 30 | NULL | Meter Tails Swapped Over
192 | 4 | 31 | NULL | Reinstatement Details
193 | 4 | 32 | NULL | Log Update
194 | 4 | 33 | NULL | Tree Trimming
195 | 4 | 34 | NULL | Check Flag
196 | 4 | 35 | NULL | Put into London Pot
197 | 4 | 37 | NULL | Supplementary Message
198 | 4 | 38 | NULL | FFE Update
199 | 4 | 39 | NULL | 1st ESC 4Hrs
200 | 4 | 40 | NULL | 2nd ESC 6Hrs
201 | 4 | 41 | NULL | 3rd ESC 8Hrs
202 | 4 | 42 | NULL | Scouting Required
203 | 4 | 43 | NULL | Scouting Completed
204 | 4 | 44 | NULL | O/T Authorised
205 | 4 | 45 | NULL | Gang Requested
206 | 4 | 46 | NULL | Excavation Complete
207 | 4 | 47 | NULL | Job Abandoned Overnight
208 | 4 | 48 | NULL | HV Fault Update
209 | 4 | 50 | NULL | HV Fault report required
210 | 4 | 51 | NULL | LV Fault report required
211 | 4 | 52 | NULL | SP Fault report required
212 | 4 | 53 | NULL | No fault report required
213 | 4 | 54 | NULL | Non availability (No Gang)
214 | 4 | 55 | NULL | Non availability (No Jointer)
215 | 4 | 56 | NULL | Non availability (No Linesman)
216 | 4 | 57 | NULL | Non availability (No DST)
217 | 4 | 58 | NULL | Generator Issues
218 | 4 | 59 | NULL | Work Ref No
219 | 4 | 60 | NULL | PAI Report Completed
220 | 4 | 70 | NULL | Fault Report Required
221 | 4 | 80 | NULL | Reg 31 Reported Ref Number
222 | 4 | 90 | NULL | Airline Reference Number
223 | 4 | 95 | NULL | Generator Ordered
224 | 4 | 97 | NULL | Barriers Requested
225 | 4 | 100 | NULL | Working at Height
226 | 4 | 110 | NULL | Gang Issue
227 | 4 | 120 | NULL | Pager Sent
228 | 4 | 130 | NULL | Responded To Pager
229 | 4 | 140 | NULL | Early Morning Dispatch
230 | 4 | 150 | NULL | Ping Sent
231 | 4 | 160 | NULL | Ping Responded
232 | 4 | 165 | NULL | Key Switchers Tried
233 | 4 | 170 | NULL | key Switcher Used
234 | 4 | 175 | NULL | Day Switcher Tried
235 | 4 | 180 | NULL | Day Switcher Used
236 | 4 | 185 | NULL | Refused to Attend
237 | 4 | 190 | NULL | EMD and Gang Requested
238 | 4 | 195 | NULL | Plans Checked
239 | 4 | 200 | NULL | IIP Audited - No FR Required
240 | 4 | 210 | NULL | GPS Tried
241 | 4 | 220 | NULL | GPS Used
242 | 4 | 230 | NULL | Temporary Re-instatement
243 | 4 | 240 | NULL | Re-instate Details Multi Holes
244 | 4 | 250 | NULL | 4th ESC 10Hrs
245 | 4 | 252 | NULL | 5th ESC 12Hrs
246 | 4 | 254 | NULL | 6th ESC 14Hrs
247 | 4 | 256 | NULL | 7th ESC 16Hrs
248 | 4 | 258 | NULL | 8th ESC 18Hrs
249 | 4 | 260 | NULL | Un-Resourced Escalation
250 | 4 | 262 | NULL | Worked Under 16 Hrs
251 | 4 | 264 | NULL | Worked Over 16 Hrs
252 | 4 | 266 | NULL | Staff to tired to Continue
253 | 4 | 268 | NULL | Shutdown contact
254 | 4 | 270 | NULL | Disconnection Cert No
255 | 4 | 280 | NULL | Opening Notice Work Ref Non-Dig
256 | 4 | 285 | NULL | DSM Audit
257 | 4 | 290 | NULL | Gas Board Aware
258 | 4 | 292 | NULL | Restoration Strategy
259 | 4 | 294 | NULL | 12hr Jeopardy Call
260 | 4 | 295 | NULL | Network Sweep Required
261 | 4 | 296 | NULL | Network Sweep Completed
262 | 4 | 300 | NULL | Street light message
263 | 4 | 610 | NULL | SMS Sent
264 | 4 | 612 | NULL | Repair Date Planned
265 | 4 | 614 | NULL | Repair Date Re-Planned
266 | 4 | 616 | NULL | Generator Disconnected
267 | 4 | 618 | NULL | Generator Connected - SMS
268 | 4 | 620 | NULL | Repair Date Planned - SMS
269 | 4 | 622 | NULL | Repair Date Re - planned - SMS
270 | 4 | 624 | NULL | Generator Discon Reminder - SMS
271 | 4 | 626 | NULL | Generator Disconnected - SMS
272 | 4 | 628 | NULL | Generator Connected
273 | 4 | 630 | NULL | Staff Requested
274 | 4 | 700 | NULL | Card List Not Received
275 | 4 | 710 | NULL | Card List Received
276 | 4 | 720 | NULL | Post Voice Message Sent
277 | 4 | 730 | NULL | Staff Responsible
278 | 4 | 740 | NULL | Call Centre Update
279 | 4 | 750 | NULL | Field ETR requested
280 | 4 | 760 | NULL | Checked EE Coverage
281 | 4 | 770 | NULL | ETR Escalation
282 | 4 | 1110 | NULL | Excavation Required
283 | 4 | 2130 | NULL | Thames Water
284 | 4 | 2180 | NULL | Traffic Master
285 | 4 | 4096 | NULL | 21. Scaffold Required [Y]
286 | 4 | 5097 | NULL | Customer Declined the Generator
287 | 4 | 5185 | NULL | BTS(EPN N)
288 | 4 | 7092 | NULL | MEMS - Update Order
289 | 4 | 8000 | NULL | Customer Demand
290 | 4 | 9095 | NULL | Un-Resolved Job Closed
291 | 5 | -40 | NULL | Scope Audit
292 | 5 | -25 | NULL | Guaranteed Standard 5\nBreach
293 | 5 | -20 | NULL | Check Flag
294 | 5 | -19 | NULL | Guarantee Standard 11\nCancelled
295 | 5 | -18 | NULL | Guarantee Standard 11\nConfirmed
296 | 5 | -17 | NULL | Guarantee Standard 11\nBreach
297 | 5 | -16 | NULL | Guarantee Standard 11\nWarning
298 | 5 | -15 | NULL | Guarantee Standard 5\nCancelled
299 | 5 | -14 | NULL | Guarantee Standard 5\nConfirmed
300 | 5 | -13 | NULL | Guarantee Standard 2\nCancelled
301 | 5 | -12 | NULL | Guarantee Standard 2\nConfirmed
302 | 5 | -11 | NULL | Guarantee Standard 1\nCancelled
303 | 5 | -10 | NULL | Guarantee Standard 1\nConfirmed
304 | 5 | -9 | NULL | Guaranteed Standard 5\nBreach
305 | 5 | -8 | NULL | Guaranteed Standard 2\nBreach
306 | 5 | -7 | NULL | Guaranteed Standard 2\nWarning
307 | 5 | -4 | NULL | Guaranteed Standard 1\nBreach
308 | 5 | -3 | NULL | Guaranteed Standard 1\nWarning
309 | 5 | -2 | NULL | Company Standard 1\nBreach
310 | 5 | -1 | NULL | Check Flag
311 | 5 | 21 | NULL | Supply On On Arrival
312 | 6 | -15 | NULL | Transfer
313 | 6 | -14 | NULL | Take
314 | 7 | 59 | NULL | Work Ref No
315 | 7 | 100 | NULL | Working at Height
316 | 7 | 110 | NULL | Working with Electricity
317 | 7 | 120 | NULL | Working in Confined Spaces
318 | 7 | 130 | NULL | NRSWA Site Specific Details
319 | 7 | 140 | NULL | Specific Risks/Hazards
320 | 7 | 150 | NULL | Specific Risks/Hazards
321 | 8 | 70 | NULL | Fault Report Required
322 | 8 | 80 | NULL | Reg 31 Reported Ref Number
323 | 8 | 210 | NULL | GPS Tried
324 | 8 | 500 | NULL | Chargeable
325 | 8 | 510 | NULL | Audit Complete
326 | 8 | 1200 | NULL | Amersham
327 | 8 | 1210 | NULL | B.T
328 | 8 | 1220 | NULL | B.T CCTV
329 | 8 | 1230 | NULL | Barking & Dagenham
330 | 8 | 1240 | NULL | Barnet, London Borough Of
331 | 8 | 1250 | NULL | Bedford Borough Council
332 | 8 | 1260 | NULL | Bedfordshire County Council
333 | 8 | 1270 | NULL | Braintree District Council
334 | 8 | 1280 | NULL | Brent, London Borough Of
335 | 8 | 1290 | NULL | Brentwood Borough Council
336 | 8 | 1300 | NULL | Bromley Council
337 | 8 | 1310 | NULL | Broxbourne District Council
338 | 8 | 1320 | NULL | Buckinghamshire County Council
339 | 8 | 1330 | NULL | Cambridgeshire County Council
340 | 8 | 1340 | NULL | Camden, London Borough Of
341 | 8 | 1350 | NULL | Chelmsford Borough Council
342 | 8 | 1360 | NULL | City Of London
343 | 8 | 1370 | NULL | Cityspace
344 | 8 | 1380 | NULL | Clearchannel
345 | 8 | 1390 | NULL | Clearchannel Billboards
346 | 8 | 1400 | NULL | Colchester Borough Council
347 | 8 | 1410 | NULL | Ealing, London Borough Of
348 | 8 | 1420 | NULL | Enfield, London Borough Of
349 | 8 | 1430 | NULL | Epping Forest District Council
350 | 8 | 1440 | NULL | Essex County Council
351 | 8 | 1450 | NULL | Great Yarmouth Borough Council
352 | 8 | 1460 | NULL | Greenwich, London Borough Of
353 | 8 | 1470 | NULL | Hackney, London Borough Of
354 | 8 | 1480 | NULL | Hammersmith And Fulham, London
355 | 8 | 1490 | NULL | Haringey, London Borough Of
356 | 8 | 1500 | NULL | Harlow District Council
357 | 8 | 1510 | NULL | Harrow, London Borough Of
358 | 8 | 1520 | NULL | Havering, London Borough Of
359 | 8 | 1530 | NULL | Hertfordshire County Council
360 | 8 | 1540 | NULL | Hillingdon, London Borough Of
361 | 8 | 1550 | NULL | Huntingdon District Council
362 | 8 | 1560 | NULL | Ipswich Borough Council
363 | 8 | 1565 | NULL | Direct Tech Services
364 | 8 | 1570 | NULL | Islington Pud
365 | 8 | 1580 | NULL | Islington, London Borough Of
366 | 8 | 1590 | NULL | JC Decaux
367 | 8 | 1600 | NULL | Kensington & Chelsea, Royal Boro
368 | 8 | 1610 | NULL | Kent County Council
369 | 8 | 1620 | NULL | King's Lynn & West Norfolk Borou
370 | 8 | 1630 | NULL | Kingston Upon Thames, Royal Boro
371 | 8 | 1640 | NULL | Lambeth, London Borough Of
372 | 8 | 1650 | NULL | Lewisham, London Borough Of
373 | 8 | 1660 | NULL | Luton Borough Council
374 | 8 | 1670 | NULL | Merton, London Borough Of
375 | 8 | 1680 | NULL | Metric Group
376 | 8 | 1690 | NULL | Morrisons
377 | 8 | 1700 | NULL | Newham, London Borough Of
378 | 8 | 1710 | NULL | Norfolk County Council
379 | 8 | 1720 | NULL | Norwich City Council
380 | 8 | 1730 | NULL | Other Customer
381 | 8 | 1740 | NULL | Outdoor Plus
382 | 8 | 1750 | NULL | Oxfordshire County Council
383 | 8 | 1760 | NULL | Peterborough
384 | 8 | 1770 | NULL | Redbridge, London Borough Of
385 | 8 | 1780 | NULL | Richmond Upon Thames, London Bor
386 | 8 | 1790 | NULL | Rochford District Council
387 | 8 | 1800 | NULL | Southend Borough Council
388 | 8 | 1820 | NULL | St Albans Parish Council
389 | 8 | 1830 | NULL | St Edmundsbury Borough Council
390 | 8 | 1840 | NULL | Suffolk County Council
391 | 8 | 1850 | NULL | T.E Beach
392 | 8 | 1860 | NULL | Tendring District Council
393 | 8 | 1870 | NULL | Three Rivers
394 | 8 | 1880 | NULL | Thurrock
395 | 8 | 1890 | NULL | Titan
396 | 8 | 1900 | NULL | Tower Hamlets, London Borough Of
397 | 8 | 1910 | NULL | Transport For London
398 | 8 | 1920 | NULL | TrueForm
399 | 8 | 1930 | NULL | Tyco
400 | 8 | 1940 | NULL | W.S Atkins
401 | 8 | 1950 | NULL | Waltham Forest, London Borough O
402 | 8 | 1960 | NULL | Wandsworth, London Borough Of
403 | 8 | 1970 | NULL | Watford council
404 | 8 | 1980 | NULL | Waveney District Council
405 | 8 | 1990 | NULL | Welywyn Borough Council
406 | 8 | 2000 | NULL | Westminster City Council
407 | 8 | 2014 | NULL | PAI Access Required to Premises
408 | 8 | 2100 | NULL | Dartford Borough
409 | 8 | 2110 | NULL | Bexley London Borough Of
410 | 8 | 2120 | NULL | Southwark London Borough Of
411 | 8 | 2130 | NULL | Thames Water
412 | 8 | 2140 | NULL | EDF Energy (Hub1)
413 | 8 | 2150 | NULL | EDF Energy (Hub3)
414 | 8 | 2160 | NULL | EDF Energy(Hub4)
415 | 8 | 2170 | NULL | London Buses
416 | 8 | 2180 | NULL | Traffic Master
417 | 8 | 2190 | NULL | Croydon, London Borough Of
418 | 8 | 2200 | NULL | TT Jones Electrical Ltd
419 | 9 | 0 | NULL | Found Open
420 | 9 | 100 | NULL | Asset Failure
421 | 9 | 300 | NULL | Street light message
422 | 9 | 310 | NULL | On Site (Emergency)
423 | 9 | 320 | NULL | Pause Other
424 | 9 | 330 | NULL | Pause System Emergency
425 | 9 | 340 | NULL | Resume
426 | 9 | 350 | NULL | Abort Cut out energised
427 | 9 | 360 | NULL | Abort Non DNO fault
428 | 9 | 370 | NULL | Abort No Fault found
429 | 9 | 380 | NULL | All Works Complete
430 | 9 | 390 | NULL | Complete Reinstatement Reqd
431 | 9 | 400 | NULL | Restart HSE/Environment
432 | 9 | 410 | NULL | Pause On Hold
433 | 9 | 420 | NULL | Restart Unable to Access
434 | 9 | 430 | NULL | Abort Incorrect location
435 | 9 | 440 | NULL | Task Instruction
436 | 9 | 450 | NULL | Log Update
437 | 9 | 460 | NULL | Transferred Legacy Job
438 | 9 | 470 | NULL | SLA Correction
439 | 9 | 480 | NULL | Target Repair Date
440 | 9 | 490 | NULL | Electrical Work Completed
441 | 9 | 500 | NULL | Chargeable
442 | 9 | 510 | NULL | Audit Complete
443 | 9 | 530 | NULL | Pause Opening Notice or Consent
444 | 9 | 540 | NULL | E Duplicate Incident
445 | 9 | 1200 | NULL | Amersham
446 | 9 | 2170 | NULL | London Buses
447 | 9 | 6000 | NULL | E Customer Cancellation 15.2
448 | 9 | 6010 | NULL | E Customer Agreement 15.3
449 | 9 | 6020 | NULL | E Industrial Action 15.6a
450 | 9 | 6030 | NULL | E Non DNO Fault
451 | 9 | 6040 | NULL | E Inability To Gain Access 15.6c
452 | 9 | 6050 | NULL | E Breaking Law/Regulations 15.6d
453 | 9 | 6060 | NULL | E Civil Crisis/Emergency 15.6e
454 | 9 | 6070 | NULL | E Beyond DNO Control 15.6f
455 | 9 | 6080 | NULL | E Vexatious/Time Wasting 15.7
456 | 9 | 6090 | NULL | E Breach of Law By Customer 15.8
457 | 9 | 6200 | NULL | Penalty Payment Agreed
458 | 9 | 6210 | NULL | Penalty Payment Investigated
459 | 9 | 7010 | NULL | C Utilities Obstruction
460 | 9 | 7020 | NULL | C Health & Safety
461 | 9 | 7030 | NULL | C Tree Roots
462 | 9 | 7040 | NULL | C Beyond DNO Control
463 | 9 | 7050 | NULL | E Abort Non-Reportable
464 | 10 | 1 | NULL | Replace service C/O (not fault)
465 | 10 | 2 | NULL | U/G,O/H service (not fault)
466 | 10 | 3 | NULL | Link box fault and not fault
467 | 10 | 4 | NULL | LV cable fault max cable
468 | 10 | 5 | NULL | HV cable fault max cable
469 | 10 | 6 | NULL | Replace all GM TX
470 | 10 | 7 | NULL | Replace HV & LV switch
471 | 10 | 8 | NULL | Replace Surge Diverter
472 | 10 | 9 | NULL | Replace O/H TX
473 | 10 | 10 | NULL | Pole Change
474 | 10 | 3000 | NULL | Network security
475 | 11 | 3000 | NULL | Network security
476 | 11 | 3002 | NULL | 2 Hrs Authorised
477 | 11 | 3003 | NULL | 3 Hrs Authorised
478 | 11 | 3004 | NULL | 4 Hrs Authorised
479 | 11 | 3005 | NULL | 5 Hrs Authorised
480 | 11 | 3010 | NULL | Public safety
481 | 11 | 3020 | NULL | Removal of mobile generation
482 | 11 | 3030 | NULL | Customer complaint
483 | 11 | 3040 | NULL | Media relations
484 | 11 | 3050 | NULL | Streetworks compliance
485 | 11 | 3060 | NULL | Customers off
486 | 11 | 3070 | NULL | Alarm incident investigation
487 | 11 | 3080 | NULL | Customer with special needs
488 | 11 | 3090 | NULL | Shift Manager Authorised
489 | 11 | 4000 | NULL | Standby Eng Authorised
490 | 11 | 4010 | NULL | Issues
491 | 11 | 5095 | NULL | E Beyond DNO's Control 22(6)(g)
492 | 12 | 5000 | NULL | E No action Required 22(2)
493 | 12 | 5010 | NULL | E Appointment Time 22(3)
494 | 12 | 5020 | NULL | E Industrial Action 22(6)(b)
495 | 12 | 5030 | NULL | E No Access To C/O 22(6)(d)
496 | 12 | 5040 | NULL | E Tampering 22(8)(a)
497 | 13 | 262 | NULL | Worked Under 16 Hrs
498 | 13 | 1620 | NULL | King's Lynn & West Norfolk Borou
499 | 13 | 5050 | NULL | E Tampering 10(11)
500 | 13 | 5055 | NULL | E Island supplies 10(3)(b)
501 | 13 | 5060 | NULL | E No Action Required 10(5)
502 | 13 | 5065 | NULL | E Custs Request we Stop 10(6)
503 | 13 | 5070 | NULL | E Industrial Action 10(8)(a)
504 | 13 | 5075 | NULL | E Gas/Water Leak 10(8)(b)
505 | 13 | 5080 | NULL | E N/A to Point of Work 10(8)(c)
506 | 13 | 5085 | NULL | Clock Stop
507 | 13 | 5090 | NULL | Clock Start
508 | 13 | 5095 | NULL | E Beyond DNO's Control 22(6)(g)
509 | 13 | 5097 | NULL | Customer Declined the Generator
510 | 14 | 280 | NULL | Opening Notice Work Ref Non-Dig
511 | 14 | 8000 | NULL | Customer Demand
512 | 14 | 8010 | NULL | Network Lockdown
513 | 14 | 8020 | NULL | Olympic Clock Stop
514 | 14 | 8030 | NULL | Olympic Generators
515 | 14 | 8040 | NULL | Out Of Hours Work
516 | 14 | 8050 | NULL | Streetworks Restrictions
517 | 14 | 8060 | NULL | Supplier Delays/Logistics
518 | 14 | 8070 | NULL | Travel Congestion
519 | 15 | 610 | NULL | SMS Sent
520 | 15 | 720 | NULL | Post Voice Message Sent
521 | 15 | 9000 | NULL | Confirmed Cat A Defect
522 | 15 | 9010 | NULL | Not Cat A Defect Cat B
523 | 15 | 9020 | NULL | Not Cat A Defect Cat C
524 | 15 | 9030 | NULL | Log Message
525 | 15 | 9040 | NULL | Other Info
526 | 15 | 9045 | NULL | Made Safe- Further WK Required
527 | 15 | 9050 | NULL | Appointment Made
528 | 15 | 9060 | NULL | Customer Request Over 40 Days
529 | 15 | 9065 | NULL | Not Cat A Incident
530 | 15 | 9070 | NULL | NACL After Appointment Made
531 | 15 | 9080 | NULL | Attempted Contact with Customer
532 | 15 | 9090 | NULL | Job Complete
533 | 15 | 9091 | NULL | No Access when Call Received
534 | 15 | 9095 | NULL | Un-Resolved Job Closed
535 | 16 | 50 | NULL | Primary Battery Fault
536 | 16 | 4050 | NULL | Access
537 | 16 | 4055 | NULL | TX Size
538 | 16 | 4060 | NULL | Conductor Down
539 | 16 | 4065 | NULL | Pole
540 | 16 | 4070 | NULL | 01. Scouts Deployed [Names]
541 | 16 | 4071 | NULL | 03. Danger Posed to Public [Y]
542 | 16 | 4072 | NULL | 04. Voltage [EHV, HV, LV, SP]
543 | 16 | 4073 | NULL | 05. No. Customers Off Supply [#]
544 | 16 | 4074 | NULL | 06. Vulnerable Customers [#]
545 | 16 | 4075 | NULL | 07. Vul. Cust. Info [Tel. etc]
546 | 16 | 4076 | NULL | 09. Access Issues [Y]
547 | 16 | 4077 | NULL | 10. Access Requirements
548 | 16 | 4078 | NULL | 08. Traffic Management [Y]
549 | 16 | 4079 | NULL | 11. Broken Pole(s) [#]
550 | 16 | 4080 | NULL | 12. Leaning Pole(s) [#]
551 | 16 | 4081 | NULL | 13. Pole Detail [ID, Size etc.]
552 | 16 | 4082 | NULL | 14. Broken Span(s) [#]
553 | 16 | 4083 | NULL | 15. Low Hanging Span(s) [#]
554 | 16 | 4084 | NULL | 16. Tangled Conductor(s) [Y]
555 | 16 | 4085 | NULL | 19. Broken Chimney Bracket(s)[#]
556 | 16 | 4086 | NULL | 17. Broken Service(s) [#]
557 | 16 | 4087 | NULL | 18. Low Hanging Service(s) [#]
558 | 16 | 4088 | NULL | 20. Broken Stay(s) [#]
559 | 16 | 4089 | NULL | 22. Plant [e.g. Transformer]
560 | 16 | 4090 | NULL | 23. Fallen Tree / Branch [Y]
561 | 16 | 4091 | NULL | 24. Branches Growing in Line [Y]
562 | 16 | 4092 | NULL | 25. Material on Line [Y]
563 | 16 | 4093 | NULL | 26. Tree Cutting [Spans]
564 | 16 | 4094 | NULL | 28.Summary [Free Text]
565 | 16 | 4095 | NULL | 02. Wire Guarding Required [Y]
566 | 16 | 4096 | NULL | 21. Scaffold Required [Y]
567 | 16 | 4097 | NULL | 27. BT Asset [Y]
568 | 18 | 1010 | NULL | Category Correct
569 | 18 | 7092 | NULL | MEMS - Update Order
570 | 18 | 7094 | NULL | MEMS - Off Hire
571 | 18 | 7095 | NULL | PE - 15kva
572 | 18 | 7096 | NULL | PE - 20kva
573 | 18 | 7098 | NULL | PE - 30kva
574 | 18 | 7099 | NULL | PE - 45kva
575 | 18 | 8000 | NULL | PE - 50kva
576 | 18 | 8010 | NULL | PE - 60kva
577 | 18 | 8011 | NULL | PE - 80kva
578 | 18 | 8012 | NULL | PE - 70kva
579 | 18 | 8014 | NULL | PE - 100kva
580 | 18 | 8016 | NULL | PE - 150kva
581 | 18 | 8018 | NULL | PE - 200kva
582 | 18 | 8020 | NULL | PE - 300kva
583 | 18 | 8022 | NULL | PE - 500kva
584 | 18 | 8024 | NULL | PE - 800kva
585 | 18 | 8026 | NULL | PE - 1000kva
586 | 18 | 8028 | NULL | PE - 1250kva
587 | 18 | 8030 | NULL | PE - Update Order
588 | 18 | 8032 | NULL | PE - Off Hire
589 | 18 | 8034 | NULL | Herts - Hire
590 | 18 | 8036 | NULL | Herts - Update
591 | 18 | 8038 | NULL | Herts - Off Hire
592 | 18 | 8040 | NULL | RTS - Hire
593 | 18 | 8042 | NULL | RTS - Update
594 | 18 | 8044 | NULL | RTS - Off Hire
595 | 18 | 8046 | NULL | TMO - Hire
596 | 18 | 8048 | NULL | TMO - Update
597 | 18 | 8050 | NULL | TMO - Off Hire
598 | 18 | 8052 | NULL | Enigma - Hire
599 | 18 | 8054 | NULL | Enigma - Update
600 | 18 | 8056 | NULL | Enigma - Off Hire
601 | 18 | 8058 | NULL | MEMS - 30kva
602 | 18 | 8060 | NULL | MEMS - 50kva
603 | 18 | 8062 | NULL | MEMS - 60kva
604 | 18 | 8064 | NULL | MEMS - 100kva
605 | 18 | 8066 | NULL | MEMS - 200kva
606 | 18 | 8068 | NULL | MEMS - 300kva
607 | 18 | 8070 | NULL | MEMS - 500kva
608 | 18 | 8072 | NULL | MEMS - 800kva
609 | 18 | 8074 | NULL | MEMS - 1000kva
610 | 18 | 8076 | NULL | MEMS - 1250kva
611 | 18 | 8078 | NULL | MEMS - Refuel
612 | 18 | 8090 | NULL | PE - Refuel
613 | 20 | 2000 | NULL | Improving reliability of network
614 | 20 | 2001 | NULL | Connecting new properties
615 | 20 | 2002 | NULL | Critical maintenance of network
616 | 20 | 2003 | NULL | Upgrading network in your area
617 | 20 | 2004 | NULL | Removing generator from network
618 | 20 | 2005 | NULL | Connecting generator to network
619 | 20 | 2006 | NULL | Repairing a fault on the network
620 | 20 | 2007 | NULL | Trimming trees near power lines
621 | 20 | 2008 | NULL | PAI Person in Charge
622 | 20 | 2009 | NULL | PAI Manual Address Added
623 | 20 | 2010 | NULL | PAI Address Connectivity Error
624 | 20 | 2011 | NULL | PAI Addresses Added
625 | 20 | 2012 | NULL | PAI Manual Address Removed
626 | 20 | 2013 | NULL | PAI Addresses Verified
627 | 20 | 2014 | NULL | PAI Access Required to Premises
628 | 20 | 2015 | NULL | PAI Generator Connected
629 | 20 | 2016 | NULL | PAI Polarity Check Completed
630 | 20 | 2210 | NULL | Princes Risborough Town Council
631 | 20 | 5100 | NULL | SQS Ltd
632 | 20 | 5180 | NULL | J&J Drake
633 | 21 | 68 | NULL | Line Patrol URGENT IMMEDIATE
634 | 21 | 2000 | NULL | Improving reliability of network
635 | 21 | 2100 | NULL | Control - Action Taken
636 | 21 | 2101 | NULL | Dispatch - No Action Taken
637 | 21 | 2102 | NULL | Dispatch - Printed For Control
638 | 21 | 2103 | NULL | Safety Coordinator - Audit
639 | 25 | -42 | NULL | Alarm
640 | 25 | 1100 | NULL | Backfill Completed
641 | 25 | 1101 | NULL | Jointing Confirmed
642 | 25 | 1110 | NULL | Excavation Required
643 | 30 | 68 | NULL | Line Patrol URGENT IMMEDIATE
644 | 30 | 70 | NULL | Line Patrol ASAP Max 24 Hrs
645 | 30 | 72 | NULL | Line Patrol ASAP Max 7 Days
646 | 30 | 74 | NULL | Patrol Completed & FULL Details
647 | 30 | 76 | NULL | Line Patrol ASAP Max 48 Hrs
648 | 30 | 1101 | NULL | Jointing Confirmed
649 | 50 | 1101 | NULL | Jointing Confirmed
650 | 50 | 1110 | NULL | Excavation Required
651 | 50 | 1120 | NULL | Reinstatement Required
652 | 50 | 1130 | NULL | Pipe Cutter Required
653 | 50 | 1135 | NULL | Locate Fault and Fix
654 | 50 | 1140 | NULL | Internal Generator Required
655 | 50 | 1150 | NULL | External Generator Required
656 | 50 | 1190 | NULL | Forensic Investigation Required
657 | 50 | 1193 | NULL | StreetWorks Required
658 | 50 | 1195 | NULL | Scaffolding Required
659 | 50 | 5100 | NULL | SQS Ltd
660 | 55 | 740 | NULL | Call Centre Update
661 | 55 | 750 | NULL | Field ETR requested
662 | 55 | 1015 | NULL | Restoration Message
663 | 55 | 2014 | NULL | PAI Access Required to Premises
664 | 55 | 5100 | NULL | SQS Ltd
665 | 55 | 5105 | NULL | ECS
666 | 55 | 5110 | NULL | Haste
667 | 55 | 5115 | NULL | Balfour Beatty
668 | 55 | 5120 | NULL | TMS Traffic Management
669 | 55 | 5125 | NULL | Herts
670 | 55 | 5130 | NULL | RTS
671 | 55 | 5135 | NULL | Speedy Fuel
672 | 55 | 5140 | NULL | Cleansing Service Group
673 | 55 | 5145 | NULL | Prysmian
674 | 55 | 5150 | NULL | Freedom Civils
675 | 55 | 5155 | NULL | Enigma
676 | 55 | 5160 | NULL | ABA
677 | 55 | 5165 | NULL | Keltbray
678 | 55 | 5170 | NULL | Manders
679 | 55 | 5175 | NULL | Flameskill
680 | 55 | 5180 | NULL | Oakwick
681 | 55 | 5185 | NULL | J&J Drake
682 | 55 | 5190 | NULL | Ground Control(EPN S)
683 | 55 | 8058 | NULL | MEMS - 30kva
684 | 65 | 6 | NULL | New MAAV Incident
685 | 4 | 820 | NULL | Power Cut Reason (SDC Only)

## DNO
Id | Dno | Description | Prefix | IsUkPn
1 | EELC | UK Power Networks (EPN) | 10 | 1
2 | LOND | UK Power Networks (LPN) | 12 | 1
3 | SEEB | UK Power Networks (SPN) | 19 | 1
4 | EMEB | Western Power Distribution | NULL | 0
5 | MANW | SP Energy Networks | NULL | 0
6 | MIDE | Western Power Distribution | NULL | 0
7 | NEEB | Northern Power Grid | NULL | 0
8 | NORW | Electricity North West | NULL | 0
9 | HYDE | Scottish and Southern Energy Power Distribution | NULL | 0
10 | SPOW | SP Energy Networks | NULL | 0
11 | SOUT | Scottish and Southern Energy Power Distribution | NULL | 0
12 | SWAE | Western Power Distribution | NULL | 0
13 | SWEB | Western Power Distribution | NULL | 0
14 | YELG | Northern Power Grid | NULL | 0
15 | LENG | ESP Electricity Ltd | NULL | 0
16 | GUCL | Energetics Electricity Ltd | NULL | 0
17 | ETCL | GTC | NULL | 0
18 | HARL | Harlaxton Energy Networks Limited | NULL | 0
19 | IPNL | GTC | NULL | 0
20 | ISLEOFMAN | MANX | NULL | 0

## ResourceStatus
Id | Name | Description
1 | NEW | New
2 | ASSN | Assign
3 | SENT | Send
4 | ACPT | Accept
5 | DISP | Dispatch
6 | ONS | On Site
7 | LEFS | Left Site
8 | CANC | Cancel
9 | COMP | Complete

## OperatingZone
Id | OperatingZone | PowerONOperatingZoneID | PowerOnZoneID | DnoId
2 | AYLESBURY | NULL | OZ19 | 1
3 | BEDFORD | NULL | OZ12 | 1
4 | BOREHAMWOOD | NULL | OZ81 | 1
5 | BROADLAND | NULL | OZ45 | 1
6 | BURY ST EDMUNDS | NULL | OZ74 | 1
7 | CAMBRIDGE | NULL | OZ11 | 1
8 | CHELMSFORD | NULL | OZ22 | 1
9 | CLACTON | NULL | OZ34 | 1
10 | ENFIELD | NULL | OZ83 | 1
11 | HARLOW | NULL | OZ55 | 1
12 | HAROLD HILL | NULL | OZ24 | 1
13 | HEMEL HEMPSTEAD | NULL | OZ13 | 1
14 | IPSWICH | NULL | OZ71 | 1
15 | KINGS LYNN | NULL | OZ44 | 1
16 | LUTON | NULL | OZ14 | 1
17 | NORWICH | NULL | OZ46 | 1
18 | PETERBOROUGH | NULL | OZ16 | 1
19 | PINNER | NULL | OZ15 | 1
20 | RAYLEIGH | NULL | OZ25 | 1
21 | ST ALBANS | NULL | OZ57 | 1
22 | STEVENAGE | NULL | OZ58 | 1
23 | UNKNOWN | NULL | OZ00 | 1
28 | OpZone | NULL |  | NULL
33 | West Kent Zone | NULL | O62 | 3
34 | Kingston Zone | NULL | O60 | 3
35 | Mid Kent Zone | NULL | O64 | 3
36 | NORTH EAST | NULL | OZ91 | 2
37 | CENTRAL | NULL | OZ94 | 2
38 | Croydon Zone | NULL | O66 | 3
39 | East Kent Zone | NULL | O65 | 3
40 | SOUTH WEST | NULL | OZ92 | 2
41 | West Sussex Zone | NULL | O61 | 3
42 | East Sussex Zone | NULL | O63 | 3
43 | Brighton Zone | NULL | O67 | 3
70 | NORTH WEST | NULL | OZ90 | 2
72 | SOUTH EAST | NULL | OZ93 | 2
95 | UKPNI | NULL | OZ89 | 2
96 | STANSTED AIRPORT | NULL | OZSD | 2
98 | Allenby 11 | NULL | O10 | 3
99 | TRAINING | NULL | OZ01 | 2
101 | Development Zone | NULL | O68 | 3
102 | UNKNOWN | NULL | OZEU | 1
103 | UNKNOWN | NULL | OZLU | 2
104 | UNKNOWN | NULL | OZSU | 3